## General Notes
Two sources of data: monthly City of Houston invoices and Rice-owned Beacon submeter data
I would like to be able to feed this program our two data sources and have it spit out a report that shows the yearly consumption for each building's domestic water and irrigation water usage, as well as a total on a separate tab. The "WUI" (column Q in the Final Water Data reference sheet) is just the "Yearly Total" (column P) divided by the "GSF" (column C)
The challenging part of this report (to me) is getting all of the data calculated correctly. You will have to add and subtract meters to get a total for a group of buildings, and portion out water to each building based on their gross square footage percentage
There are 3 "groups" of buildings that all see usage through either 1 or 2 City of Houston Accounts. The 3 groups are: North Plant Group, West Campus Group, and the Library Service Center Group
For the irrigation water, there are 11 "groups" of buildings that get served by either 1 or 2 City of Houston irrigation accounts, see the "Irrigation Zones" tab
Where possible, use Beacon submeter data instead of City of Houston invoices as we will eventually have every building submetered in the Beacon system and will therefore no longer need the City of Houston data. Plus, it's more accurate.
We are constantly adding more submeters into the Beacon system, so the program should be able to automatically take in and handle those submeters (unless there's math to do with the data, then it will obviously require some extra maintenance)
Let me know if/when you have questions, I'm sure it is all a bit overwhelming and confusing at first but once you study this sheet a bit it should get at least a little more clear.
How to "portion out" a building:
Let's say Building A, Building B, and Building C are all served by This Meter, and the total water consumption through This Meter is 10,000 gallons
Building A's gross square footage is 30,000
Building B's gross square footage is 50,000
Building C's gross square footage is 20,000
The total gross square footage of these 3 buildings is 100,000
A buildings "portion" of water consumption would be it's percentage of GSF that it shares with the combined total GSF of all the buildings that are served by This Meter
Building A's portion would be 30%, meaning it gets 30% of the 10,000 gallons from This Meter which would be 3,000 gallons
Building B's portion would then be 50%, so we would say it used 5,000 gallons through This Meter
Building C's portion would be 20%, so it would get 2,000 gallons
Now, let's say that we have a submeter on Building A that shows that Building A actually used 2,000 gallons, as opposed to our calculated amount of 3,000 gallons.
Since the 2,000 gallon amount is real data, we prefer to use that over the portioned 3,000 gallon amount.
We should then set Building A's consumption to 2,000, subtract Building A's 2,000 gallons from the 10,000 gallon total seen through This Meter, and also subtract Building A's GSF from the combined GSF total.
This means that Building B's GSF percentage is now 50,000/(50,000 + 20,000) = 71.4%
Apply this new GSF percentage for Building B to the total water seen through This Meter MINUS Building A's submetered water
Building B's consumption is now calculated as (10,000 gallons from This Meter - 2,000 gallons from Building A's submeter) * 71.4 percent for Building B's share of the GSF = 5,714 gallons consumed by Building B
Building C's consumption would be calculated in a similar way

## How to Calc each building
Name of building: | Notes:
Alice Pratt Brown Hall | use the Alice Pratt Brown City of Houston account, no calculation required
Allen Center | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Anderson Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Anderson-Clarke Center | Portion out its consumption based on gross square footage from the West Campus Group for July 2023 - February 2024, then use Anderson-Clarke Center Main (beacon data) for March - June
Baker College | From the Beacon data, add up New Baker College and Old Baker College
Baker College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Baker Hall | Baker Hall City of Houston account, no calculation required
Biological Laboratories | From the Beacon data, use Biology - Main. No calculations required
Bioscience Research Collaborative | BRC City of Houston account, no calculation required
Brian Patterson Sports Performance Center | From the Beacon data, use Brian Patterson. No calculation required
Brochstein Pavilion | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Brockman Hall for Opera | From the Beacon data, use Brockman Opera Main. No calculation required
Brockman Hall for Physics | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Brown College | Brown College Total Consumption = Brown College Tower (beacon data) + a portion of the North Servery (beacon data) for the new addition to Brown College - a portion from the Brown College Tower (beacon data) for the Student Health Center
Brown College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Cambridge Office Building | Cambridge Office Building City of Houston data, no calculations required
Central Plant | Getting the plant's true water consumption would take a complicated formula. For now, this calculation will be fine: Central Plant Total Consumption = (North Plant Cooling Tower Makeup (beacon data) + North Plant Boiler Makeup (I'll provide separately) * 1.05. We add a 5% increase for all of the plant equipment efficiencies, plus toilets/sinks etc.
Cohen House | Portion out its consumption based on gross square footage from the North Plant Group for July and August, then use the Cohen House (beacon data) for September 2023 - June 2024
Cox Mechanical Engineering | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Dell Butcher Hall | use the Dell Butcher City of Houston account for July 2023 - May 2024, then use the Dell Butcher Hall (beacon data) for June 2024
Duncan College | From Beacon data, use Duncan College for the entire year, no calculations required
Duncan College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Duncan Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Facilities & Capital Planning | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Fondren Library | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Geological Laboratories | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
George R. Brown Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Greenhouse | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Hamman Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Hanszen College | From Beacon data, add up New Hanszen College and Old Hanszen College
Hanszen College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Herman Brown Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Herring Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Herzstein Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Housing & Dining Offices | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Huff House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Humanities Building | Portion out its consumption based on gross square footage from the North Plant Group for July - February, then use Humanities Domestic Meter (beacon data) for March - June
Jones College | From Beacon data, use Jones College Main. No calculations required
Jones College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Keck Hall | Portion out its consumption based on gross square footage from the North Plant Group for July - December, then use Keck Hall, Main (beacon data) for January - June
Kraft Hall | From Beacon data, use Kraft Hall. No calculations required
Library Service Center | Portion out its consumption based on gross square footage from the Library Service Center Group for the entire year
Lovett College | From Beacon Data, use Lovett College and subtract out a portion for the Magister's House
Lovett College Magister's House | Portion out its consumption based on gross square footage from the Lovett College (beacon data) meter
Lovett Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Martel College | Portion out its consumption based on gross square footage from the North Servery (beacon data) for the entire year
Martel College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Maxfield Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
McMurtry College | From Beacon Data, use McMurtry College. No calculations required
McMurtry College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
McNair Hall | From Beacon Data, add up McNair Hall - A and McNair Hall - B
Moody Center For The Arts | Portion out its consumption based on gross square footage from the West Campus Group for July 2023 - February 2024, then use Beacon data for March - June
Mudd Computer Science Building | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Multicultural Center | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
North Kitchen Servery | From Beacon Data, use North Servery. Will have to subtract out portions for Martel College, new addition to Brown College
O'Connor Building | Use City of Houston account for July 2023 - April 2024, and the O'Connor Building data from Beacon for May and June
Oshman Engineering Design Kitchen | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Police Department Building | Use the Annex Building account from the City of Houston data for the entire year
Primary Data Center | Portion out its consumption based on gross square footage from the Library Service Center Group for the entire year
Rayzor Hall | Portion out its consumption based on gross square footage from the North Plant Group for July 2023 - February 2024, then use Beacon data for March - June
Reckling Park At Cameron Field | From Beacon Data, add Reckling Park and Reckling Roost
Recreation & Wellness Center | Add up Wellness Center (coh data) + Competition Pool Fill (beacon data) + Recreation Pool Fill (beacon data)
Rice Stadium | From Beacon data, add up Stadium Northwest, Stadium Northeast, Stadium South, Stadium Southeast, Stadium Southwest
RMC/Ley Student Center | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Ryon Engineering Laboratory | Portion out its consumption based on gross square footage from the North Plant Group for July - December, then from our Beacon data add up Ryon Lab East and Ryon Lab West for January - June
Seibel Servery | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Sewall Hall | Portion out its consumption based on gross square footage from the North Plant Group for the entire year
Sid Richardson College | From Beacon Data, use New Sid Rich Main and subtract a portion for the Magister's house
Sid Richardson College Magister's House | Portion out its consumption based on gross square footage from the New Sid Rich Main (beacon data) meter
South Kitchen Servery | Portion out its consumption based on gross square footage from the Wiess College (beacon data) submeter
South Plant | South Plant Total Consumption = (South Plant Water Softener Entering (beacon data)) * 1.05 + South Plant Cooling Water Line + South Plant Domestic Cold Water
Space Science And Technology | From Beacon Data, calculation is as follows: Space Science Total Consumption = (Space Science Clean Room) * 1.10. The Space Science Main meter has lost accuracy over the past few years, so we'll use the Clean Room meter plus a compensation factor for the rest of the building.
Student Health Center | Portion out its consumption based on gross square footage from the Brown College Tower (beacon data) submeter
Tennis Center | From Beacon Data, use GRB Tennis. No other calculations are required
Track & Soccer Stadium | From Beacon Data, use Track Waterline. No other calculations are required
Tudor Fieldhouse And Youngkin Center | Portion out its consumption based on gross square footage from the West Campus Group for July 2023 - May 2024, then use Tudor Fieldhouse (beacon data) for June
West Kitchen Servery | From Beacon Data, use West Servery. No other calculations are required
Wiess College | From Beacon Data, use Wiess College but subtract out a portion for South Servery
Wiess College Magister's House (Wilson House) | Let's see what happens when we do this: Wiess College Magister's House = Wiess College (coh data) - South Plant Total Consumption (see above^)
Wiess President's House | From City of Houston Invoices, use the President's House account
Will Rice College | From Beacon Data, calculation is as follows: Will Rice College Total Consumption = New Will Rice + Old Will Rice College + Will Rice Commons - New Sid Rich Main - a portion for Seibel Servery
Will Rice College Magister's House | Portion out its consumption based on gross square footage from the North Plant Group for the entire year

## City of Houston Data Notes
You won't have to use all of the City of Houston accounts, as some are unnecessary (like the fire accounts and most irrigation accounts) and some we have submetered already
The only columns you'll really need from this data are the "Old Name" (column A), "Usage Date" (column E), and "Gallons" (column F), unless you decide to use the account # or meter # as a reference key or something.
All of the City of Houston accounts that you will see in our data are as follows:
Will you have to use this account? | Name of Account | Notes
yes | Alice Pratt Brown | this account serves Alice Pratt Brown Hall and nothing else. Easy one! We do not have Beacon data on this building yet so we can use the CoH data for Alice Pratt Brown.
yes | Allen Center Lawn | this data should be used for July through November for the Allen Center/The Grove Lawn irrigation zone. We installed a submeter on this account in mid-November, so use our submeter data for December – June.
yes | Anderson Clarke | this account serves multiple buildings on the west side of campus, and is a joint account with the Football Stadium (see below). Use these two accounts to get the total for the West Campus Group.
no | Anderson Clarke Irrigation | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | Anderson Hall -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
yes | Annex Building | this is the Police Department. This account serves nothing else besides the Police Department and we do not have a submeter for it, so we can use this data for the Police Department building.
no | A-North Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Baker Hall | this account only serves Baker Hall and we do not have a submeter, so we can use this data for Baker Hall’s consumption.
no | Biology -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
yes | BRC | this account only serves the BRC and we do not have a submeter, so we can use this data for the BRC’s consumption.
no | BRC Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | Brockman Hall for Opera Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | B-South Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Cambridge Office Bldg | this account only serves the Cambridge Office Building and we do not have a submeter, so we can use this data for the COB consumption.
no | Cameron Field Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Dell Butcher | this account only serves Dell Butcher Hall, but we did install a submeter on this building in late-May. Use Beacon submeter data for June 2024, and CoH data for all other months.
no | Duncan Hall -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Evap Credits $ only | ignore this account. This is a credit given to us from the city based on our North Plant cooling tower evaporation, and will always show zero gallons.
no | FIRE10 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE11 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE12 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE13 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE14 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE15 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE16 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE17 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | FIRE9 | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
yes | Football Stadium | this account, along with the Anderson-Clarke Center account, serve the West Campus Group. We have submeter data for most of the West Campus Group, but you’ll need to use this account to portion out the others that do not have submeter data.
no | Geo R. Brown Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | Geo. R. Brown -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Hicks Kitchen -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Intramural Fld Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | Jones School | ignore this account. This account only serves McNair Hall / Jones Business School, but we have Beacon submeter data for the entire year that we should use instead.
no | Keck Hall -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Lib Service Ctr Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Library Service Ctr | this account serves the Library Service Center Group, which is only two buildings (the Library Service Center and the Primary Data Center). We do not have Beacon submeter data on them, so use this data for these two buildings. It will be easy to portion them out based on gross square footage.
no | Lovett College Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Main Feed #1 Current chg | this is the North Plant account, which helps to serve the main portion of campus. The North Plant Group will have to be calculated based off of this account, the Martel College account, and the Water Well account.
yes | Martel College | this account should be used to calculate the North Plant Group’s consumption along with the Water Well and Main Feed #1. It has little to do with Martel College's actual water consumption, the meter is just located over by Martel.
no | Mechanical Engineering - Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | North College Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | O'Connor Building | this account only serves the O’Connor Building, but we have Beacon submeter data for May and June that we should use instead for those two months. The rest of the months can be from this CoH account.
no | Pres. House. Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | President's House | this is for the President’s House, which we do not have submeter data for. Use this data for the Wiess President’s House.
no | Ryon Lab -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Soccer Field Lawn | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
yes | Water Well | this is our on-campus well that feeds the same buildings as the North Plant account. This account will be used to calculate the North Plant Group’s consumption.
yes | Wellness Center | this is the Recreation Center, which we do not have submeter data for. Use this data, plus the Beacon submeters for the Competition Pool and the Recreation Pool, to get the total for the Recreation Center.
no | Wellness Center - Pool | ignore this account. This is the CoH account for the pool fill lines, which we do have submeter data for. Use the Competition Pool and the Recreation Pool submeters instead to calculate the total for the Recreation Center.
yes | Wiess College | despite the name, this is actually the main account for the South Plant. The only two buildings this account serves are the South Plant and the Wiess College Magister’s House (Wilson House). I’ll have to figure out how to portion this out for the Magister’s House.
no | Wiess College Credit | ignore this account. This is a credit given to us from the city based on our South Plant cooling tower evaporation, and will always show zero gallons.
no | Wiess College -Fire | ignore this account and all other Fire accounts. These serve the fire sprinklers in the buildings and should read zero consumption.
no | Wiess Lawn A | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.
no | Wiess Lawn X | ignore this account. This is an irrigation account, which we have submeters for. Use the Beacon submeter data instead.

## Beacon Data Notes
We currently have 121 submeters in the Beacon system, and we are going to be adding more.
There are a few things to keep in mind about this data, but for the most part it is simple and intuitive
Only columns you will definitely need are the "Location Name" (column A), "Flow_Time" (column M), and "Flow" (column N). You can use the "Account_ID" as a key if you want, or however else you want to do it
Sometimes when I export this data, it will create 2 rows for the same month, for the same meter. The total consumption for that month is just the sum of the 2 rows (I showed you an example of this when we met). Be on the lookout for this, as it comes up a lot
The New Will Rice meter also captures New Sid Rich and Seibel Servery, so we'll have to subtract out these buildings to get New Will Rice's actual consumption. We have a submeter for New Sid Rich, but Seibel will have to be calculated. The Seibel Servery meter was installed after the time period of this report.
The North Servery meter serves the North Servery, Martel College, and the new addition to Brown College. We will have to portion this meter's usage out to these buildings listed here to get their consumption.
If a submeter is to be put in the Miscellaneous tab and it does not have a full year's worth of data, don't worry about it. No need to calculate/backfill the Miscellaneous data.
All of our submeters are as follows:
| Allen Center Lawn | this submeter will be used to calculate the irrigation consumption for any building in the Allen Center irrigation zone. Submeter was installed in November, so data is only good for December - June. Use the City of Houston account for July - November.
| Anderson-Clarke Center CHW Makeup | put in the Miscellaneous tab
| Anderson-Clarke Center HW Makeup | put in the Miscellaneous tab
| Anderson-Clarke Center Lawn | this meter shares an irrigation zone with the Soccer Field meters, so we can use this data plus the Soccer Field meters to calculate the irrigation for all buildings in the Anderson-Clarke Center/Soccer Field irrigation zone for the entire year
| Anderson-Clarke Center Main | this submeter was installed in mid-February, so we can use this data for March - June. The rest of the months will have to be calculated through the West Campus Group calculation
| APB Courtyard - North | put in the Miscellaneous tab
| APB Courtyard - South | put in the Miscellaneous tab
| Biology - Main | use this for Biology's domestic water consumption for the entire year
| Biology Condensate Recovery | put in the Miscellaneous tab
| Biology Fountain Makeup | put in the Miscellaneous tab
| BRC Lawn | use this for the BRC's irrigation consumption for the entire year
| Brian Patterson | use this for Brian Patterson's domestic water consumption for the entire year
| Brian Patterson - Chiller | put in the Miscellaneous tab
| Brochstein Pavilion | we installed this submeter after the time period of this report, so cannot use it. Will have to calculate Brochstein Pavilion's usage through the North Plant Group
| Brockman Hall for Physics - HW Makeup | put in the Miscellaneous tab
| Brockman Hall for Physics - Main | we installed this submeter in mid-June, so cannot use it for this report. Will have to calculate Brockman Hall for Physics' consumption based off of the North Plant Group
| Brockman Hall for Physics - RODI Makeup | put in the Miscellaneous tab
| Brockman Hall for Physics Fountain | put in the Miscellaneous tab
| Brockman Opera Lawn | we can use this data to calculate the irrigation for all buildings in the Brockman Opera irrigation zone for the entire year
| Brockman Opera Main | use this for Brockman Hall for Opera's domestic water consumption for the entire year
| Brown College Tower | this meter covers the older Brown College Tower building as well as the Student Health Center. Will have to subtract out a portion for the Student Health Center based off of gross square footage from this meter.
| Cannady Hall | this meter was installed after the time period of this report. Cannady Hall's consumption can be reported as 0 for this report.
| Cannady Hall - DHW Makeup | put in the Miscellaneous tab
| Cohen House | use this data for August - June. Will have to portion out July 2023 from the North Plant Group.
| Cohen House Fountain | put in the Miscellaneous tab
| Competition Pool Fill | add this to the Wellness Center (coh data), as well as the Recreation Pool Fill (beacon data) to get the total for the Recreation Center domestic water
| Cox Mechanical Engineering | this submeter was installed after the time period of this report. Will have to portion this building out from the North Plant Group
| Dell Butcher Hall | this submeter was installed at the end of May 2024, so we only have good data for June 2024 for this report. The rest can be taken from the Dell Butcher (coh data) account.
| Dell Butcher Hall HW Makeup | put in the Miscellaneous tab
| Dell Butcher Hall RODI Makeup | put in the Miscellaneous tab
| Delll Butcher Water Softener | put in the Miscellaneous tab (it is spelled as "Delll" in our Beacon system)
| Duncan College | use this for Duncan College's domestic water consumption for the entire year
| Duncan College Fountain | put in the Miscellaneous tab
| Fondren Fountain North | put in the Miscellaneous tab
| Fondren Fountain South | put in the Miscellaneous tab
| Geology HW Makeup | put in the Miscellaneous tab
| Geology Main | we installed this submeter in mid-June, so cannot use it for this report. Will have to calculate Geology's consumption based off of the North Plant Group
| GRB Hall- Main | this submeter was installed after the time period of this report. Will have to portion this building out from the North Plant Group
| GRB Lawn | we can use this data to calculate the irrigation for all buildings in the GRB irrigation zone for the entire year
| GRB Tennis | use this for the Tennis Center's domestic water consumption for the entire year
| Holistic Garden | put in the Miscellaneous tab
| Humanities Domestic Meter | use this for the Humanities Building's consumption for March - June. The rest of the months will have to be calculated based off of the North Plant Group.
| Humanities HW Makeup | put in the Miscellaneous tab
| Intramural Field Lawn | we can use this data to calculate the irrigation for all buildings in the Intramural Field irrigation zone for the entire year
| Jamail Fountain | put in the Miscellaneous tab
| Jones College Fountain | put in the Miscellaneous tab
| Jones College Main | use this for Jones College's domestic water consumption for the entire year
| Keck Hall Condensate Recovery | put in the Miscellaneous tab
| Keck Hall, Main | will have to portion out Keck Hall from the North Plant Group for July - December, but we can use this data for January - June
| Kraft Hall | use this for Kraft Hall's domestic water consumption for the entire year
| Lovett College | use this for Lovett College's domestic water consumption for the entire year
| Lovett College Lawn | we can use this data to calculate the irrigation for all buildings in the Lovett College irrigation zone for the entire year
| Lovett College - HW Makeup | put in the Miscellaneous tab
| LSC Lawn | we can use this data to calculate the irrigation for all buildings in the Library Service Center irrigation zone for the entire year
| McMurtry College | use this for McMurtry College's domestic water consumption for the entire year
| McNair Hall - A | add both of these McNair Hall meters together to get McNair Hall's total consumption. Have data for the entire year
| McNair Hall - B | add both of these McNair Hall meters together to get McNair Hall's total consumption. Have data for the entire year
| McNair Hall Fountain | put in the Miscellaneous tab
| Moody Center- CHW Makeup | put in the Miscellaneous tab
| Moody Center- HW Makeup | put in the Miscellaneous tab
| Moody Center- Main | this submeter was installed mid-February, so we can use this data for March - June. Will have to portion the rest of the months out through the West Campus Group
| New Baker College | add this meter and the Old Baker College meter to get Baker College's consumption. Have data for the entire year
| New Hanszen College | add this meter and the Old Hanszen College meter to get Hanszen College's consumption. Have data for the entire year
| New Hanszen College- DHW Makeup | put in the Miscellaneous tab
| New Hanszen College- HW Makeup | put in the Miscellaneous tab
| New Sid Lawn COH MU | put in the Miscellaneous tab
| New Sid Lawn Tank Outflow | put in the Miscellaneous tab
| New Sid Rich Main | use this data for Sid Rich College's domestic water consumption for the entire year. No need to use Old Sid Rich data
| New Will Rice | this meter captures New Will Rice College, New Sid Rich College, and Seibel Servery. Will have to subtract out New Sid Rich and Seibel Servery to get New Will Rice's consumption.
| North College Lawn | we can use this data to calculate the irrigation for all buildings in the North College irrigation zone for the entire year
| North Plant AHU Condensate | put in the Miscellaneous tab
| North Plant Cooling Tower Blowdown | put in the Miscellaneous tab
| North Plant Cooling Tower Makeup | subtract this from the Main Feed #1 Current chg (coh data) to help calculate the North Plant Group total consumption. Include in the Miscellaneous tab
| North Servery | this meter serves the North Kitchen Servery, Martel College, new addition to Brown College, Brown College Commons, and Jones College Commons. Will have to subtract out portions for each of these buildings to get the North Servery's actual consumption
| O'Connor Building | use this data for May and June 2024, and the O'Connor Building (coh data) for the rest of the months
| O'Connor Building - HRW | put in the Miscellaneous tab
| O'Connor Building - HRW Makeup | put in the Miscellaneous tab
| O'Connor Building - SCHW Makeup | put in the Miscellaneous tab
| Old Baker College | add this meter and the New Baker College meter to get Baker College's consumption. Have data for the entire year
| Old Hanszen College | add this meter and the New Hanszen College meter to get Hanszen College's consumption. Have data for the entire year
| Old Sid Rich College | ignore this meter, don't even put it in the report
| Old Will Rice College | use this data to calculate Will Rice College's consumption.
| Practice Field Lawn | this meter covers the A-North Lawn (coh data) and B-South Lawn (coh data) accounts. Use this data to calculate the irrigation for all buildings in the Practice Field irrigation zone.
| President's House Lawn | use this data to get the irrigation for the Wiess President's House
| Rayzor Domestic Meter | use this to get Rayzor Hall's domestic water consumption for March - June, and use the North Plant Group calculation for the rest of the months.
| Rayzor Hall HW Makeup | put in the Miscellaneous tab
| Reckling Park | use this plus the Reckling Roost to get Reckling Park's total consumption. Have good data for the entire year
| Reckling Roost | add this to the Reckling Park meter to get Reckling Park's total consumption. Have good data for the entire year
| Recreation Pool Fill | add this to the Wellness Center (coh data), as well as the Competition Pool Fill (beacon data) to get the total for the Recreation Center domestic water
| Ryon Lab, East | add these 2 meters to get Ryon Lab's total consumption, have good data for January - June, but July - December will have to be calculated from the North Plant Group
| Ryon Lab, West | add these 2 meters to get Ryon Lab's total consumption, have good data for January - June, but July - December will have to be calculated from the North Plant Group
| Seibel Servery | this submeter was installed after the time period of this report. Will have to portion this building out from the North Plant Group. Remember to subtract this from the New Will Rice meter.
| Sewall Hall Dewatering Pump 1 | put in the Miscellaneous tab
| Sewall Hall Dewatering Pump 2 | put in the Miscellaneous tab
| Sid Rich College- HW Makeup | put in the Miscellaneous tab
| Soccer Field 1 | these two meters added together will be used to calculate the irrigation for any buildings in the Soccer Field irrigation zone
| Soccer Field 2 | these two meters added together will be used to calculate the irrigation for any buildings in the Soccer Field irrigation zone
| South HW Plant Makeup | put in the Miscellaneous tab
| South Plant AHU Condensate Return | put in the Miscellaneous tab
| South Plant Boiler Blowdown Cooling Water | put in the Miscellaneous tab
| South Plant Boiler Makeup | put in the Miscellaneous tab
| South Plant Cooling Tower Blowdown | put in the Miscellaneous tab
| South Plant Cooling Tower Makeup | subtract this from the Wiess College (coh data) account to perform the calculation for the South Plant Group. Include in the Miscellaneous tab
| South Plant Cooling Water Line | put in the Miscellaneous tab
| South Plant Domestic Cold Water | will be used to calculate the South Plant domestic water consumption
| South Plant Water Softener Entering | put in the Miscellaneous tab
| South Servery | this submeter was installed after the time period of this report. Will have to portion it out from the Wiess College (beacon data) submeter.
| Space Science Clean Room | use this to calculate Space Science's total consumption, see the "How to Calc each building" tab
| Space Science Main | ignore this, we'll use the Clean Room meter instead. This meter is not accurate
| Stadium - Northeast | add these 5 meters together to get the Rice Stadium's domestic water consumption for the entire year
| Stadium - Northwest | add these 5 meters together to get the Rice Stadium's domestic water consumption for the entire year
| Stadium - South | add these 5 meters together to get the Rice Stadium's domestic water consumption for the entire year
| Stadium - Southeast | add these 5 meters together to get the Rice Stadium's domestic water consumption for the entire year
| Stadium - Southwest | add these 5 meters together to get the Rice Stadium's domestic water consumption for the entire year
| The Grove Lawn | this meter is a joint account with the Allen Center Lawn meter. Use these two meters to calculate the irrigation water for any buildings in the Grove and Allen Center irrigation zone.
| Track Waterline | use this meter to get the Track and Soccer Stadium's domestic water consumption for the entire year
| Tudor Fieldhouse | this submeter was installed in late-May, so we can only use this data for June 2024. Will have to portion the rest out from the West Campus Group
| West Servery | use this meter to get the West Servery's domestic water consumption for the entire year
| Wiess College | this meter serves Wiess College and the South Kitchen Servery. Will have to subtract out a portion for the South Servery to get Wiess College's actual consumption
| Wiess College Lawn | use this meter to calculate the irrigation consumption for any building in the Wiess College irrigation zone
| Will Rice Commons | add this meter to the calculated New Will Rice consumption and the Old Will Rice meter to get Will Rice College's total consumption

## Irrigation Zones
Something that we did not cover when we met are the irrigation zones. We have 11 irrigation zones on campus that are served by 16 submeters. Most of our buildings will be assigned to an irrigation zone where its irrigation water consumption should be portioned out from.
All of these meters are submeters of City of Houston accounts, and can be seen through the Beacon system with the exception of a couple months worth of data through the Allen Center Lawn meter.
Certain lawn meters are joint accounts, meaning they cover the same area so we will have to add up their consumption to get the total water usage in that zone.
Some buildings are not represented in these irrigation zones, and that's because they use building domestic water for irrigation. No need to do any compensation for this for now.
Add up the gross square footage (GSF) for each building in their respective zone, divide each individual building's GSF by the total to get the percentage of irrigation water that each building should get out of its respective irrigation meter(s)
All of our irrigation meters are as follows:
| Allen Center Lawn | This account shares consumption with The Grove Lawn (beacon data). Add up both meters' consumption to get the total for this irrigation zone. The Allen Center Lawn meter was installed in mid-November, so use the City of Houston account for July - November.
| Anderson-Clarke Center Lawn | This account shares consumption with Soccer Field 1 and Soccer Field 2 (beacon data). To get the total irrigation water used in this zone, add up consumption from all 3.
| BRC Lawn | This meter only serves the BRC, and has good data for the entire year
| Brockman Opera Lawn | This meter only serves the Brockman Hall for Opera, and has good data for the entire year
| GRB Lawn | This meter covers the largest area, but we have good data for the entire year
| Holistic Garden | This meter should only be used for the Holistic Garden, and should be subtracted from the Intramural Lawn meter.
| Intramural Field Lawn | This meter serves the Recreation Center and the Holistic Garden. When getting the Recreation Center's irrigation usage, subtract the Holistic Garden (beacon data) consumption from this meter and use that.
| Lovett College Lawn | This meter serves just a few buildings, see below
| LSC Lawn | Serves only the Library Service Center and Primary Data Center
| North College Lawn | Serves the North Colleges
| Practice Field Lawn | Serves the football practice field behind Brian Patterson
| President's House Lawn | Serves the Wiess President's House
| Soccer Field 1 | To be combined with Soccer Field 2 and the Anderson-Clarke Center Lawn meter
| Soccer Field 2 | To be combined with Soccer Field 1 and the Anderson-Clarke Center Lawn meter
| The Grove Lawn | To be combined with the Allen Center Lawn meter
| Wiess College Lawn | Serves the Wiess College and Hanszen College area
Irrigation zones and their constituent buildings:
| Allen Center Lawn/The Grove Lawn | Anderson Hall
Baker College
Baker College Magister's House
Cox Mechanical Engineering
Duncan Hall
Hanszen College Magister's House
Herzstein Hall
Humanities Building
Keck Hall
Lovett Hall
Maxfield Hall
Multicultural Center
O'Connor Building
Rayzor Hall
Sewall Hall
Will Rice College
Will Rice College Magister's House
| Anderson-Clarke Center Lawn/Soccer Field 1/Soccer Field 2 | Anderson -Clarke Center
Kraft Hall
Moody Center
Police Department
Reckling Park
|  | Sarofim Hall | <-- maybe just put this one in as a placeholder so we can use it once the building gets built, or not it's w/e
Track and Soccer Stadium
Tudor Fieldhouse
| BRC Lawn | BRC
| Brockman Opera Lawn | Brockman Hall for Opera
| GRB Lawn | Alice Pratt Brown Hall
Baker Hall
Biology
Brochstein Pavilion
Brockman Hall for Physics
|  | Cannady Hall | this building will be 0 for the entire year, do not include in the calculation
Dell Butcher Hall
Fondren Library
Geology
George R. Brown Hall
Greenhouse
Hamman Hall
Herman Brown Hall
Herring Hall
McNair Hall
Mudd Lab
RMC
Space Science
| Intramural Field Lawn | Recreation Center | Remember to subtract out the Holistic Garden from the Intramural Field Lawn meter
| Lovett College Lawn | Allen Center
Cambridge Office Building
Cohen House
Lovett College
Lovett College Magister's House
| LSC Lawn | Library Service Center
Primary Data Center
| North College Lawn | Brown College
Brown College Magister's House
Duncan College
Duncan College Magister's House
Jones College
Jones College Magister's House
Martel College
Martel College Magister's House
McMurtry College
McMurtry College Magister's House
North Kitchen Servery
Student Health Center
West Servery
| Practice Field Lawn | Brian Patterson
Rice Stadium
| Wiess College Lawn | Hanszen College
Housing and Dining Office
Sid Richardson College
South Kitchen Servery
Wiess College
Wiess College Magister's House (Wilson House)

## North Plant Group
The North Plant Group will have to be calculated like this: North Plant Group Total Consumption = Main Feed #1 Current chg (coh data) + Water Well (coh data) + Martel College (coh data) - North Plant Cooling Tower Makeup (beacon data) - North Plant Boiler Makeup (I'll provide) - any buildings in the North Plant Group that have Beacon submeter data
This will give the total consumption for all of the buildings in the North Plant Group that do not have Beacon submeters
All of the buildings that are in the North Plant Group are as follows:
Does this building have a submeter? | Name of Building | Notes
no | Allen Business Center | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Anderson Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | Baker College | we have good submeter data for this building for the entire year. Will have to add both the New Baker College and Old Baker College from the Beacon submeter data together to get the total for Baker College. Remember to subtract this consumption out from the North Plant Group calculation.
no | Baker College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | Biology | we have good submeter data for this building for the entire year. No other calculations are necessary to get Biology's consumption. Remember to subtract this consumption out from the North Plant Group calculation.
no | Brochstein Pavilion | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, but partial data | Brockman Hall for Physics | you will see this building in the Beacon data under "Brockman Hall for Physics - Main", but the submeter was installed mid-June, so we do not have good submeter data during the time period of this report. Will have to portion out its consumption based on gross square footage for the entire year.
yes, calculation required | Brown College | this building can be calculated as follows: Brown College Total Consumption = Brown College Tower (beacon data) - a portion for the Student Health Center + a portion of the North Servery meter (beacon data) that captures the newer addition to Brown College. The Brown College Tower data in Beacon also captures the Student Health Center, so that is why we have to subtract out a portion for that building.
no | Brown College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Cannady Hall | this building will be zero for the entire year, don't worry about it but still include it in the report. Do not need to add its gross square footage to the North Plant Group calculation, I'll add it in next year. Maybe just write the code up for it and comment it out for now? However you want to do it.
yes, but partial data | Cohen House | will have to calculate July and August consumption based on a portion of the North Plant Group, but the rest of months can be taken from the Beacon data for Cohen House (not the Cohen House Fountain). Remember to subtract out this consumption from the North Plant Group for September - June.
no | Cox Mechanical Engineering | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | Duncan College | we have good submeter data for this building for the entire year. No other calculations are necessary to get Duncan College's consumption, but do not include the Duncan College Fountain. Remember to subtract this consumption out from the North Plant Group calculation.
no | Duncan College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Duncan Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Facilities and Capital Planning | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Fondren Library | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Geology | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year. Our submeter was installed mid-June, so we can't use that as the full month's consumption.
no | George R. Brown Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Greenhouse | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Hamman Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | Hanszen College | we have good submeter data for this building for the entire year. Will have to add both the New Hanszen College and Old Hanszen College from the Beacon submeter data together to get the total for Hanszen College. Remember to subtract this consumption out from the North Plant Group calculation.
no | Hanszen College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Herman Brown Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Herring Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Herzstein Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Housing and Dining Office | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Huff House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, but partial data | Humanities Building | we have good submeter data for this building starting in March. July - February will have to be portioned out from the North Plant Group. Remember to start subtracting the Beacon data for this building out from the North Plant Group in March.
yes | Jones College | we have good submeter data for this building. Use Jones College Main (beacon data) for this building, and subtract it out from the North Plant Group. The Jones College Fountain is already included in the Jones College Main data, so no need to add it in.
no | Jones College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | Kraft Hall | we have good submeter data for this building, subtract out from the North Plant Group each month.
yes, but partial data | Keck Hall | we will have to portion out this building from the North Plant Group for July - December, but we can use beacon submeter data for January - June. Remember to subtract out the Beacon data starting in January from the North Plant Group.
yes, calculation required | Lovett College | we have good submeter data for this building, subtract out a portion for the Magister's House
yes, calculation required | Lovett College Magister's House | we will have to portion this building out from the Lovett College submeter data for the entire year
no | Lovett Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, calculation required | Martel College | will have to portion this building out from the North Servery submeter (beacon data), and then subtract it out from the North Plant Group.
no | Martel College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Maxfield Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes | McMurtry College | we have good submeter data for this building, subtract out from the North Plant Group each month.
no | McMurtry College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Mudd Lab | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
no | Multicultural Center | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, calculation required | North Kitchen Servery | we have a Beacon submeter for this building, but will still have to subtract out portions for Martel College, new addition to Brown College, Brown College Commons, and Jones College Commons
no | OEDK | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, but partial data | Rayzor Hall | we will have to portion out this building from the North Plant Group for July - February, but we have good submeter data for March - June. Remember to subtract out Beacon data from the North Plant group starting in March.
no | RMC | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, but partial data | Ryon Lab | we will have to portion out this building from the North Plant Group for July - December, but we have good submeter data for January - June. Remember to subtract out Beacon data from the North Plant group starting in March.
no | Seibel Servery | we have no submeter data for this building, will have to portion out its consumption based on gross square footage from the New Will Rice (beacon data) meter. Calculation is as follows: Seibel Servery = (New Will Rice (beacon data) - New Sid Rich Main (beacon data))*GSF percentage
no | Sewall Hall | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year
yes, calculation required | Sid Richardson College | we have good submeter data for this building under the New Sid Rich Main meter (beacon data), but will have to subtract out a portion for the Magister's House. Don’t worry about Old Sid Rich. Remember to subtract this out from the North Plant Group.
yes, calculation required | Sid Richardson College Magister's House | we will have to portion this building out from the New Sid Rich Main (beacon data) for the entire year
yes, calculation required | South Kitchen Servery | this building's consumption is captured through the Wiess College (beacon data) submeter, which also serves Wiess College. Portion this building out from that submeter, and subtract from the North Plant Group for each month.
yes | Space Science and Technology | we have good submeter data for this building for the entire year. The Space Science Main (beacon data) submeter is inaccurate, so we'll have to use the Space Science Clean Room (beacon data) meter instead and add a compensation factor to it.
yes, calculation required | Student Health Center | will have to portion this building out from the Brown College Tower (beacon data) meter.
yes | West Kitchen Servery | we have good submeter data for this building, remember to subtract out from the North Plant Group.
yes, calculation required | Wiess College | we have good submeter data for this building, but will have to subtract out a portion for the South Kitchen Servery. Calculation should be as follows: Wiess College = Wiess College (beacon data) - portion for South Kitchen Servery
yes, calculation required | Will Rice College | we have submeter data for this building, but calculation will be as follows: Will Rice College = New Will Rice (beacon data) + Old Will Rice College (beacon data) + Will Rice Commons (beacon data) - New Sid Rich Main (beacon data) - portion for Seibel Servery from the North Plant Group.
no | Will Rice College Magister's House | we have no submeter data for this building, will have to portion out its consumption based on gross square footage for the entire year

## Library Service Center Group
There are two buildings in the Library Service Center group, calculation will be easy
Library Service Center Group Total Consumption = Library Service Ctr (coh data)
| Library Service Center | portion this out from the Library Service Ctr (coh data) account
| Primary Data Center | portion this out from the Library Service Ctr (coh data) account

## West Campus Group
The West Campus Group is calculated based off of two City of Houston accounts, and should subtract data from our Beacon submeters. Calculation is as follows: West Campus Group Total Consumption = Anderson Clarke (coh data) + Football Stadium (coh data) - any Beacon submeters that we have on each of these buildings
This will give the total consumption for all buildings that do not have a submeter in the West Campus Group
The buildings in the West Campus Group are as follows:
Does this building have a submeter? | Name of Building: | Notes:
yes, but partial data | Anderson-Clarke Center | we have good Beacon submeter data for this building for March - June, will have to portion out the rest of the months through the West Campus Group calculation.
yes | Brian Patterson | we have good submeter data for this building for the entire year, remember to subtract out its consumption in the West Campus Group calculation.
yes | Brockman Hall for Opera | we have good submeter data for this building for the entire year, remember to subtract out its consumption in the West Campus Group calculation.
yes, but partial data | Moody Center | we have good Beacon submeter data for this building for March - June, will have to portion out the rest of the months through the West Campus Group calculation.
yes, calculation required | Reckling Park | we have good submeter data for this building for the entire year, but will have to add Reckling Park (beacon data) + Reckling Roost (beacon data) to get the total consumption. Subtract out of West Campus Group calculation.
yes, calculation required | Rice Stadium | we have good submeter data for this building for the entire year, but will have to add 5 submeters together: Rice Stadium Total Consumption = Stadium Northeast + Stadium Northwest + Stadium South + Stadium Southeast + Stadium Southwest
yes | Tennis Center | we have good submeter data for this building for the entire year under GRB Tennis (beacon data), remember to subtract out its consumption in the West Campus Group calculation.
yes | Track and Soccer Stadium | we have good submeter data for this building for the entire year, it is labeled as "Track Waterline" in Beacon. Subtract out of West Campus Group calculation
yes, but partial data | Tudor Fieldhouse and Youngkin Center | we only have good submeter data for this building for June, the rest of the months will have to be portioned out from the West Campus Group.